## Fjord Control Online
Sheet type | Fjord control web portal
Web portal settings |  | Web portal send tags
Base address | https://data.fjordcontrol.no/api | Tag
Authentication |  | Container.DoorSwitch1.IsClosed
Plant ID |  | Container.DoorSwitch2.IsClosed
Send interval | 2000 | Container.RoomSensor.Temperature
Genset1.Engine.AccumulatedFuelFlow
Genset1.Engine.BatteryVoltage
Genset1.Engine.CoolantTemperature
Genset1.Engine.EngineSpeed
Genset1.Engine.FuelFlow
Genset1.Engine.OilPressure
Genset1.Engine.RunningHours
Genset1.Engine.StatusString
Genset1.Generator.AccumulatedApparentPowerTotal
Genset1.Generator.ActivePowerTotal
Genset1.Generator.ApparentPowerTotal
Genset1.Generator.CosPhi
Genset1.Generator.CurrentL1
Genset1.Generator.CurrentL2
Genset1.Generator.CurrentL3
Genset1.Generator.CurrentNeutral
Genset1.Generator.Frequency
Genset1.Generator.OperatingMode
Genset1.Generator.VoltageL1L2
Genset1.Generator.VoltageL1L3
Genset1.Generator.VoltageL2L3
Genset1.Mains.Frequency
Genset1.Mains.VoltageL1L2
Genset1.Mains.VoltageL1L3
Genset1.Mains.VoltageL2L3
Hybrid.Battery.AverageBatteryCurrent
Hybrid.Battery.AverageBatteryTemp_PCB
Hybrid.Battery.AverageBatteryVoltage
Hybrid.Battery.AverageDepthOfDischarge
Hybrid.Battery.AverageStateOfCharge
Hybrid.Battery.AverageStateOfHealth
Hybrid.Battery.AvgBatteryTemp
Hybrid.Battery.AvgCellVoltage
Hybrid.Battery.Current
Hybrid.Battery.MaxBatteryCurrent
Hybrid.Battery.MaxBatteryTemp
Hybrid.Battery.MaxBatteryTemp_PCB
Hybrid.Battery.MaxBatteryVoltage
Hybrid.Battery.MaxCellVoltage
Hybrid.Battery.MaxChargeSetpoint
Hybrid.Battery.MaxDepthOfDischarge
Hybrid.Battery.MaxDischargeSetpoint
Hybrid.Battery.MaxStateOfCharge
Hybrid.Battery.MaxStateOfHealth
Hybrid.Battery.MinBatteryCurrent
Hybrid.Battery.MinBatteryTemp
Hybrid.Battery.MinBatteryTemp_PCB
Hybrid.Battery.MinBatteryVoltage
Hybrid.Battery.MinCellVoltage
Hybrid.Battery.MinDepthOfDischarge
Hybrid.Battery.MinStateOfCharge
Hybrid.Battery.MinStateOfHealth
Hybrid.Battery.StateOfCharge
Hybrid.Battery.StringVoltage
Hybrid.Battery.Voltage
Hybrid.PMS.IslandMode
Hybrid.Transformer.BargeLoad
Hybrid.Transformer.Frequency
Hybrid.Transformer.FundReactivePower1
Hybrid.Transformer.FundReactivePower2
Hybrid.Transformer.FundReactivePower3
Hybrid.Transformer.NeutralCurrent
Hybrid.Transformer.PhaseConductorVoltage12
Hybrid.Transformer.PhaseConductorVoltage23
Hybrid.Transformer.PhaseConductorVoltage31
Hybrid.Transformer.PhaseCurrent1
Hybrid.Transformer.PhaseCurrent2
Hybrid.Transformer.PhaseCurrent3
Hybrid.Transformer.TotalApparentPower
Hybrid.Transformer.TotalPowerFactor
Hybrid.Transformer.TotalRealPower
Hybrid.Battery.Capacity