## Fjord Control Online
Sheet type | Fjord control web portal
Web portal settings |  | Web portal send tags
Base address | https://data.fjordcontrol.no/api | Tag
Authentication |  | Container.DoorSwitch1.IsClosed
Plant ID |  | Container.DoorSwitch2.IsClosed
Send interval | 2000 | Container.RoomSensor.Temperature
Genset1.Engine.AccumulatedFuelFlow
Genset1.Engine.BatteryVoltage
Genset1.Engine.CoolantTemperature
Genset1.Engine.EngineSpeed
Genset1.Engine.FuelFlow
Genset1.Engine.OilPressure
Genset1.Engine.RunningHours
Genset1.Engine.StatusString
Genset1.Generator.AccumulatedApparentPowerTotal
Genset1.Generator.ActivePowerTotal
Genset1.Generator.ApparentPowerTotal
Genset1.Generator.CosPhi
Genset1.Generator.CurrentL1
Genset1.Generator.CurrentL2
Genset1.Generator.CurrentL3
Genset1.Generator.CurrentNeutral
Genset1.Generator.Frequency
Genset1.Generator.OperatingMode
Genset1.Generator.VoltageL1L2
Genset1.Generator.VoltageL1L3
Genset1.Generator.VoltageL2L3
Genset1.Mains.Frequency
Genset1.Mains.VoltageL1L2
Genset1.Mains.VoltageL1L3
Genset1.Mains.VoltageL2L3
Genset2.Engine.AccumulatedFuelFlow
Genset2.Engine.BatteryVoltage
Genset2.Engine.CoolantTemperature
Genset2.Engine.EngineSpeed
Genset2.Engine.FuelFlow
Genset2.Engine.OilPressure
Genset2.Engine.RunningHours
Genset2.Engine.StatusString
Genset2.Generator.AccumulatedApparentPowerTotal
Genset2.Generator.ActivePowerTotal
Genset2.Generator.ApparentPowerTotal
Genset2.Generator.CosPhi
Genset2.Generator.CurrentL1
Genset2.Generator.CurrentL2
Genset2.Generator.CurrentL3
Genset2.Generator.CurrentNeutral
Genset2.Generator.Frequency
Genset2.Generator.OperatingMode
Genset2.Generator.VoltageL1L2
Genset2.Generator.VoltageL1L3
Genset2.Generator.VoltageL2L3
Genset2.Mains.Frequency
Genset2.Mains.VoltageL1L2
Genset2.Mains.VoltageL1L3
Genset2.Mains.VoltageL2L3
Genset3.Engine.AccumulatedFuelFlow
Genset3.Engine.BatteryVoltage
Genset3.Engine.CoolantTemperature
Genset3.Engine.EngineSpeed
Genset3.Engine.FuelFlow
Genset3.Engine.OilPressure
Genset3.Engine.RunningHours
Genset3.Engine.StatusString
Genset3.Generator.AccumulatedApparentPowerTotal
Genset3.Generator.ActivePowerTotal
Genset3.Generator.ApparentPowerTotal
Genset3.Generator.CosPhi
Genset3.Generator.CurrentL1
Genset3.Generator.CurrentL2
Genset3.Generator.CurrentL3
Genset3.Generator.CurrentNeutral
Genset3.Generator.Frequency
Genset3.Generator.OperatingMode
Genset3.Generator.VoltageL1L2
Genset3.Generator.VoltageL1L3
Genset3.Generator.VoltageL2L3
Genset3.Mains.Frequency
Genset3.Mains.VoltageL1L2
Genset3.Mains.VoltageL1L3
Genset3.Mains.VoltageL2L3
Hybrid.Battery.AverageBatteryCurrent
Hybrid.Battery.AverageBatteryTemp_PCB
Hybrid.Battery.AverageBatteryVoltage
Hybrid.Battery.AverageDepthOfDischarge
Hybrid.Battery.AverageStateOfCharge
Hybrid.Battery.AverageStateOfHealth
Hybrid.Battery.AvgBatteryTemp
Hybrid.Battery.AvgCellVoltage
Hybrid.Battery.Current
Hybrid.Battery.MaxBatteryCurrent
Hybrid.Battery.MaxBatteryTemp
Hybrid.Battery.MaxBatteryTemp_PCB
Hybrid.Battery.MaxBatteryVoltage
Hybrid.Battery.MaxCellVoltage
Hybrid.Battery.MaxChargeSetpoint
Hybrid.Battery.MaxDepthOfDischarge
Hybrid.Battery.MaxDischargeSetpoint
Hybrid.Battery.MaxStateOfCharge
Hybrid.Battery.MaxStateOfHealth
Hybrid.Battery.MinBatteryCurrent
Hybrid.Battery.MinBatteryTemp
Hybrid.Battery.MinBatteryTemp_PCB
Hybrid.Battery.MinBatteryVoltage
Hybrid.Battery.MinCellVoltage
Hybrid.Battery.MinDepthOfDischarge
Hybrid.Battery.MinStateOfCharge
Hybrid.Battery.MinStateOfHealth
Hybrid.Battery.StateOfCharge
Hybrid.Battery.StringVoltage
Hybrid.Battery.Voltage
Hybrid.PMS.IslandMode
Hybrid.Transformer.BargeLoad
Hybrid.Transformer.Frequency
Hybrid.Transformer.FundReactivePower1
Hybrid.Transformer.FundReactivePower2
Hybrid.Transformer.FundReactivePower3
Hybrid.Transformer.NeutralCurrent
Hybrid.Transformer.PhaseConductorVoltage12
Hybrid.Transformer.PhaseConductorVoltage23
Hybrid.Transformer.PhaseConductorVoltage31
Hybrid.Transformer.PhaseCurrent1
Hybrid.Transformer.PhaseCurrent2
Hybrid.Transformer.PhaseCurrent3
Hybrid.Transformer.TotalApparentPower
Hybrid.Transformer.TotalPowerFactor
Hybrid.Transformer.TotalRealPower
Hybrid.Battery.Capacity